Send Date

Addressee’s Name

Title

Business Name

Street Address

City, State Zip/Postal Code

Dear Addressee (or other typical greeting),

Rockwell Automation announces the 140A Manual motor starters / Motor Protection Circuit Breakers will be discontinued and no longer available for sale after 31 October 2020.*.

To support your transition, we recommend migrating to 140MP Motor Protection Circuit Breakers. The 140MP line offers:

- Overload protection – trip class 10A

- Short-Circuit Protection (Magnetic Protection)

- Phase loss sensitivity

- Testing in combination with Allen-Bradley Bulletin 100-C and 100-K contactors to create two component motor starters

- CE, cULus, CCC, KC, EAC Certification

Following are the products that are affected:

| 140A Catalog Number | 140A Description | Discontinued Date* | 140MP Recommended Replacement | 140MP Description | Replacement Category** |
| --- | --- | --- | --- | --- | --- |
| 140A-C2A-A16 | 0.1 - 0.16 A Manual motor Starter | 10/31/2020 | 140MP-A3E-A16 | 140MP 0.16A Mtr Protection Ckt-br | Engineered Replacement |
| 140A-C2A-A25 | 0.16 - 0.25 A Manual motor Starter | 10/31/2020 | 140MP-A3E-A25 | 140MP 0.25A Mtr Protection Ckt-br | Engineered Replacement |
| 140A- C2A -A40 | 0.25 - 0.40 A Manual motor Starter | 10/31/2020 | 140MP-A3E-A40 | 140MP 0.40A Mtr Protection Ckt-br | Engineered Replacement |
| 140A- C2A -A63 | 0.4 - 0.63 A Manual motor Starter | 10/31/2020 | 140MP-A3E-A63 | 140MP 0.63A Mtr Protection Ckt-br | Engineered Replacement |
| 140A- C2A -B10 | 0.63 - 1.0 A Manual motor Starter | 10/31/2020 | 140MP-A3E-B10 | 140MP 1.0A Mtr Protection Ckt-br | Engineered Replacement |
| 140A- C2A -B16 | 1.0 - 1.6 A Manual motor Starter | 10/31/2020 | 140MP-A3E-B16 | 140MP 1.6A Mtr Protection Ckt-br | Engineered Replacement |
| 140A- C2A -B25 | 1.6 - 2.5 A Manual motor Starter | 10/31/2020 | 140MP-A3E-B25 | 140MP 2.5A Mtr Protection Ckt-br | Engineered Replacement |
| 140A- C2A -B40 | 2.5 - 4.0 A Manual motor Starter | 10/31/2020 | 140MP-A3E-B40 | 140MP 4.0A Mtr Protection Ckt-br | Engineered Replacement |
| 140A- C2A -B63 | 4.0 - 6.3 A Manual motor Starter | 10/31/2020 | 140MP-A3E-B63 | 140MP 6.3A Mtr Protection Ckt-br | Engineered Replacement |
| 140A- C2A -C10 | 6.3 - 10 A Manual motor Starter | 10/31/2020 | 140MP-A3E-C10 | 140MP 10A Mtr Protection Ckt-br | Engineered Replacement |
| 140A- C2A -C16 | 10 - 16 A Manual motor Starter | 10/31/2020 | 140MP-A3E-C16 | 140MP 16A Mtr Protection Ckt-br | Engineered Replacement |

Manual motor Starter / Motor Protection Circuit Breakers

Auxiliary Contacts

| Catalog Number | 140A Description | Discontinued Date* | 140MP Recommended Replacement | 140MP Description | Replacement Category** |
| --- | --- | --- | --- | --- | --- |
| 140A-C-AEA01 | Flush mount – 1NC | 10/31/2020 | 140MP-A-AFA01 | Front mount – 1NC | Functional |
| 140A-C-AEA10 | Flush mount – 1NO | 10/31/2020 | 140MP-A-AFA10 | Front mount – 1 NO | Functional |
| 140A-C-AEA201 | Flush mount – 1NC | 10/31/2020 | 140MP-A-AFA01 | Front mount – 1NC | Functional |
| 140A-C-AEA210 | Flush mount – 1NO | 10/31/2020 | 140MP-A-AFA10 | Front mount – 1 NO | Functional |
| 140A-C-ASA02 | Side mount – 2 NC | 10/31/2020 | 140MP-A-ASA02 | Side mount – 2 NC | Functional |
| 140A-C-ASA11 | Side mount – 1 NO, 1 NC | 10/31/2020 | 140MP-A-ASA11 | Side mount – 1 NO, 1 NC | Functional |
| 140A-C-ASA20 | Side mount – 2 NO | 10/31/2020 | 140MP-A-ASA20 | Side mount – 2 NO | Functional |

Shunt Trip Release

| Catalog Number | 140A Description | Discontinued Date* | Recommended Replacement | 140MP Description | Replacement Category** |
| --- | --- | --- | --- | --- | --- |
| 140A-C-SXD | 110V, 50 Hz/120V, 60 Hz | 10/31/2020 | 140MP-A-SND | 110 V, 50/60 Hz | Functional |
| 140A-C-SXF | 220-230V, 50 Hz | 10/31/2020 | 140MP-A-SNAF | 200-240 V, 50/60 Hz | Functional |
| 140A-C-SXJ | 24V, 60 Hz | 10/31/2020 | 140MP-A-SNKJ | 20-24 V, 50/60 Hz | Functional |
| 140A-C-SXK | 24V, 50 Hz | 10/31/2020 | 140MP-A-SNKJ | 20-24 V, 50/60 Hz | Functional |
| 140A-C-SXN | 400V, 50 Hz/460V, 60 Hz | 10/31/2020 | 140MP-A-SNN | 350-415 V, 50/60 Hz | Functional |

Undervoltage Trip Release

| Catalog Number | 140A Description | Discontinued Date* | Recommended Replacement | 140MP Description | Replacement Category** |
| --- | --- | --- | --- | --- | --- |
| 140A-C-UXB | 415V, 50 Hz/480V, 60 Hz | 10/31/2020 | 140MP-A-UXB | 415V 50Hz, 480V 60 Hz | Functional |
| 140A-C-UXD | 110V, 50 Hz/120V, 60 Hz | 10/31/2020 | 140MP-A-UXC | 110V 50Hz, 120V 60 Hz | Functional |
| 140A-C-UXF | 220-230V, 50 Hz | 10/31/2020 | 140MP-A-UXF | 230V 50Hz, 240V 60 Hz | Functional |
| 140A-C-UXJ | 24V, 60 Hz | 10/31/2020 | 140MP-A-UXJ | 20V 50Hz, 24V 60 Hz | Functional |
| 140A-C-UXK | 24V, 50 Hz | 10/31/2020 | 140MP-A-UXK | 24V 50Hz, 28V 60Hz | Functional |
| 140A-C-UXM | 500V, 50 Hz/575V, 60 Hz | 10/31/2020 | 140MP-A-UXM | 575V 60 Hz | Functional |
| 140A-C-UXN | 400V, 50 Hz/460V, 60 Hz | 10/31/2020 | 140MP-A-UXN | 400V 50Hz | Functional |

Please note products may sell out prior to the discontinuation date listed above. We recommend you place all last-time buy orders as far in advance of the discontinued date as possible by contacting your local Allen-Bradley distributor or Rockwell Automation sales engineer.

Product stocking varies globally region-to-region. Some regions may have product available for sale up to one year after a product discontinuation date. To check product availability in your region, contact your local Allen-Bradley distributor or Rockwell Automation sales engineer.

Rockwell Automation plans to provide repair services and technical support for these products for as long as practical. If you are interested in using some of these services, please contact our technical support at http://www.rockwellautomation.com/global/support/overview.page. Note that most services are chargeable and may require a technical support contract.

Migration Solutions

Rockwell Automation can help you identify your options for leveraging your existing automation investment across the enterprise and throughout the lifecycle. Use our Product Lifecycle Status search tool to find specific lifecycle information by catalog number.

As always, we will make every attempt to satisfy your needs. Please feel free to contact me with any concerns or transition issues.

<product manager’s name>

<product manager’s title>

<product manager’s contact info>

Complimentary Close,

*Discontinued date may be subject to change.

**Definition of replacement categories:

Direct Replacement: a product that can be used in place of an earlier product without any user modifications or adjustments. A direct replacement provides backward compatible form, fit and function by emulating the earlier product.

Functional Replacement: a product or family that can be used to replace an earlier product or family and emulates the old one with minimal changes to an existing application. A functional replacement means that there is a form, fit or function change, but that it is backward compatible.

Engineered Replacement: a product or family that can be used to migrate an earlier product or family and requires engineering changes to existing applications. An engineered replacement means that there is a form, fit or function change of the application that is not backward compatible and that does not emulate the earlier product.